## Slide 1: Data collection and reliability assessment for O&M optimization of wind turbines
Berthold Hahn, Fraunhofer IWES, operating agent of IEA Wind Task 33
New IEA Wind
recommended practices
WindEurope Summit 2016, 29th Sep, Hamburg, Germany

## Slide 2: Main contributors
  B. Hahn, Fraunhofer IWES
  M. Asgarpour, ECN Energy research Centre of the Netherlands
  P. Bangalore, Chalmers University Gothenburg
  S. Faulstich, Fraunhofer IWES
  K. Harrisson, ORE Catapult
  B. Karlson, Sandia National Labs
  F. O’Connor, ServusNet
  L. Pettersson, Vattenfall Sweden
  C. Soraghan, ORE Catapult
  C. Stock-Williams, ECN Energy research Centre of the Netherlands
  J. Dalsgaard Sorensen, DTU / University Aalborg
  G. van Bussel, Delft University of Technology
  J. Vatn, NTNU University Trondheim
  T. Welte, SINTEF Energy Research

## Slide 3: IEA Wind Task 33
Reliability Data -
Standardizing data collection for wind turbine reliability and O&M analyses

## Slide 4: Task 33 – Participants
Country | Organisation
China | Chinese Wind Energy Association – CWEA
 | Goldwind Science & Technology Co., Ltd.
Denmark | DTU University Denmark / University Aalborg
Finland | Technical Research Centre of Finland – VTT
France | Maia Eolis
Ireland | ServusNet Informatics
Germany | Fraunhofer Institute for Wind Energy and Energy System Technology – IWES
Netherlands | Delft University of Technology – TUDelft ECN Energy research centre of the Netherlands
Norway | Norwegian University of Science and Technology – NTNU SINTEF Energy Research
Sweden | Chalmers University of Technology
 | Vattenfall Research and Development AB
UK | Offshore Renewable Energies Catapult Atkinsglobal
USA | Sandia National Laboratories

## Slide 5: Goal of IEA Wind Task33
      New ‘Recommended Practices’
for
WIND FARM DATA COLLECTION AND RELIABILITY ASSESSMENT FOR O&M OPTIMIZATION
1.

## Slide 6: Management of O&M data
2
3
4
1
5
Wind energy plant(s)
controller/ SCADA
technical operation
Automatic data acquisition
Collection of data during maintenance & inspection
O&M Management
WInD-Pool
Interfaces of data
communication
service/ maintenance
technician
laboratory
Commercial operation
forecast (wind
& weather)
component
supplier
plant
manufacturer
independent
authorised expert
analysis for optimising design and optimising the O&M-process
technical data
commercial data
Standards on:
- Component designation
- Failure/fault description
- Defined data sets
- Communication protocol
Data analyses /
Shared database
Notes: Next slide: parameter diversification

## Slide 7
IEA Wind Task 33 Recommended Practices for Reliability Data
Standards
Taxonomies
Data
Entries
______
______
______
______
______
Data Groups
Roles
Objectives
Analyses
From roles to taxonomies

## Slide 8: Data groups and sub-groups
Data groups | Sub-groups / objects
Equipment data (ED) | Identification
 | Time data
 | Technical information
Operating data / measurement values (OP) | Time stamp
 | Measurement values (SCADA, etc)
 | Operational states
Failure / fault data (FD) | Identification
 | Time data
 | Failure description
 | Failure effect
 | Failure detection
 | Fault properties
Maintenance & inspection data (MD) | Identification
 | Time data
 | Task / measure / activity
 | Resources
 | Maintenance results

## Slide 9
Data groups / taxonomies | Equipment data | Operating / measurement data | Failure data | Maintenance & inspection data
VGB RDS-PP® | o |  |  | 
NERC GADS | o | - |  | -
ReliaWind | o |  |  | 
ISO 14224 | o* |  | +* | +*
FGW ZEUS |  | o | + | +
IEC 61400-25 |  | + |  | 
IEC 61400-26 |  | + |  | 
Standards covering data groups and entries
+ | entries with a high level of detail
o | entries with a medium level of detail
- | entries on a more general level
* | not wind-specific

## Slide 10: Data group equipment data
Equipment data (per hierarchical level of the plant) |  | 
Sub-groups/objects | Entries | Complexity level
Identification |  | 
 | Identification code | A, B, C
 | Coordinates, location | A, B, C
Time data |  | 
 | Start of operation | A, B, C
 | Start of observation | C
Technical information |  | 
 | OEM | A, B, C
 | Type | A, B, C
 | Serial number | B, C
 | Design data relevant for each equipment class and item | B, C
 | Maintenance manual | C

## Slide 11: Main recommendations
      To owners / operators:
      Identify your use-case and be aware of the resulting data needs
      Start early: make sure you get all data during contract negotiation
      Map all WT components to the designation systems RDS-PP® or GADS
      Adopt taxonomies of ISO 14224 and ZEUS
      Align operating states to IEC 61400-26
      Train your staff understanding, what data collection is helpful for
      Support data quality by making use of computerized means
      Share reliability data to achieve a broad statistical basis
      To wind industry in general:
      Develop comprehensive wind-specific standard based on existing guidelines/standards, such as ISO 14224-2006 & FGW ZEUS
      Develop component- / material-specific definition of faults, severity, and location

## Slide 12: IEA Wind Task 33
Thank you
task33@iwes.fraunhofer.de