## Slide 1: Monitoring Wind Turbine Loading Using Power Converter Signals
C. Rieg, C. Smith, C. Crabtree
c.j.crabtree@dur.ac.uk
Date: 29/09/2016

## Slide 2: Talk Outline
Motivation.
Methodology.
Gearbox Fault Detection.
Shaft Loading Estimation.
Inhabit.com

## Slide 3: Motivation
Condition Monitoring (CM) can reduce wind Cost of Energy.
CM sensors can be expensive and impractical at high torque.
Can we use readily available signals?
  Converter

## Slide 4: Investigations
Gearbox Fault Detection (GFD).
Shaft loading estimation (SLE).
albionalumni.org/

## Slide 5: Drive Train Model

## Slide 6: Gearbox Fault Detection

## Slide 7: GFD: Fault Model
Variation in gear stiffness.
Case study: Every other tooth.

## Slide 8: GFD: Detection
Fast Fourier Transform (FFT).
Fault frequency: 1.72Hz.

## Slide 9: No Detection?

## Slide 10: Shaft Loading Estimation

## Slide 11: SLE: Gusts, Torque and Current
Based on IEC Gust Model.
Gust category 1 (GC1): strongest gust, GC10: weakest.

## Slide 12: SLE: Methodology

## Slide 13: SLE: Results
UW (m/s) | ΔTr,est (kNm) | ΔTr,sim (kNm) | % Error
Verification (GC1) |  |  | 
5.5 | 354 | 350 | 0.92
6.2 | 449 | 445 | 0.76
7 | 573 | 568 | 0.89
8.2 | 787 | 780 | 0.81
Real wind input (GC 10) |  |  | 
8.4 | 99 | 105 | 5.9

## Slide 14: Conclusion
Introduction to CM from existing converter signals.
Gearbox faults not detected.
  More advanced simulation and/or experimental work needed.
Can estimate gust loading using current frequency spectrum.
  Potential for turbine protection and fatigue monitoring.