## Slide 1: Large scale wind farms in Natura 2000 areas Technical and legislative tools to mitigate potential environmental impacts
Andreas Vlamakis Physicist, MSc ENTEKA S.A. | Konstantinos Loukidis Energy engineer, ΜΒΑ ENTEKA S.A.

## Slide 2
  Wind energy & Natura 2000
  importance to not exclude wind energy from Natura sites
1
Technical and legislative tools
to mitigate environmental impacts
Case-studies
Large scale wind farms inside Natura areas
2
3
The issues addressed

## Slide 3
1
Wind energy & Natura 2000

## Slide 4
Habitats & Birds Directives
Low carbon economy
RES Directive
Natural capital conservation
Wind energy developments & Natura 2000
Strategic Planning (=find suitable locations)
Case by case approach
Appropriate Assessment (92/43/EEC, Article 6)
Wind energy & Natural capital
Habitats & Birds Directives
Low carbon economy
RES Directive
Natural capital conservation
Mitigation of climate change

## Slide 5
Wind Farms inside
Natura areas
419 Natura sites
27,2% land cover
Wind “likes” Wildlife
Too many Restrictions
(in other areas)
466,5 MW
in Natura
(20% of total capacity)
The case of Greece

## Slide 6
2
Technical & legislative
mitigation tools

## Slide 7
EIA Directive
Habitats & Birds Directives
Spatial
Framework
for RES &
SEA Directive
Environmental
Liability Directive
Other environmental
legislation
Environmental
Impact Assessment
Appropriate Assessment
Environmental standards
Conservation objectives
Wind Priority areas
Exclusions areas
max. WTGs density
min. distance from other uses
“Polluter pays”
Necessary preventive or remedial measures
Road specs
Reforestation works
Waste management
Legislative tools

## Slide 8
Pre-Construction
Extended field work
GIS mapping tools
WF layout is a multi-layer problem!
Ecological studies
Habitats’ mapping
Birds’ territories
Visual & noise
impact tools
Photorealism
Iso-noise maps
Post-Construction
Restoration & Reforestation
Annual monitoring
Habitats’ status
Fauna activity
Bird Collisions
Other preventive
or remedial measures
(case depended)
Technical tools

## Slide 9
3
Case studies
Skyros Project
Panachaiko Project
SKYROS

## Slide 10
Basic data
Size: 333 ΜW (111xV90-3MW)
Yield: ~1000 GWh/year
Status: EIA (almost complete)
Developer: ENTEKA S.A.
The unique case of Skyros
High wind potential ( 9 m/s)
Site remoteness
No conflicts with other local activities
Skyros wind farm

## Slide 11
The site

## Slide 12
GR2420006
60 WTGs inside Natura site
Large colony of Falco eleonorae
Endemic flora species & maple groves
Complex terrain
Challenging issues

## Slide 13
Non-interconnected island
155 km HVDC lines
Min. installed capacity
for a feasible project
Size limitations

## Slide 14
Multi-annual field work by team of environmental specialists
Special studies to optimize project’s design
Appropriate Assessment was proactively conducted
General approach
View from the castle of Skyros

## Slide 15
Habitats’ mapping
Endemic flora species
2% limit for land cover actual cover: only 1.13%
Extended reforestation
Habitats & flora species

## Slide 16
Falco eleonorae (1050 individuals)
Max. 3 collisions/year
Mitigation measures:
2 km buffer zone
Underground electrical lines
Monitoring & additional measures (radars, artificial nests etc)
EC: the EIA "fulfills all the requirements of EU legislation and Court’s of Justice case-law“
The Project remains feasible
Avian fauna

## Slide 17
plantation of 40.000 endemic plants and trees
Saving of 1,1 mil. ton CO2/year
Integrated program of additional actions (environmental actions, restoration of byzantine church, social actions etc.)
3.5 mio€/year for the local community (RES special tax)
secures island’s electric supply & first step for the interconnection of the islands of north-eastern Aegean Sea
200 local jobs in construction & 40 local jobs in operation
Direct added value to the national economy: 24,6 mil. €/year (construction) and 133,5 mil. €/year (operation)
Benefits of the project

## Slide 18
Basic data
Location: Achaia, Peloponnese
Status: Operates since 2006
Capacity: 48,45 MW
(57 WTGs, Vestas V52 & Gamesa G52)
Developer/Operator: ENTEKA S.A.
Environmental info
Restoration works
No habitats deterioration
Annual bird monitoring:
no collision incidents
Panachaiko Project

## Slide 19
Wind energy and wild life can coexist,
even in the case of large wind farms
References & deep dives
EU Guidance document: Wind energy developments & Natura 2000
Demonstration of good practices to minimize impacts of wind farms on biodiversity in Greece , LIFE12 BIO/GR/000554: http://windfarms-wildlife.gr
EU Guidance document: Managing Natura 2000 sites: The provisions of Article 6 of the 'Habitats' Directive 92/43/EEC
Discussion
Prerequisites:
suitable locations
thorough environmental investigation
application of environmental legislation
implementation of proper mitigation measures

## Slide 20
Andreas Vlamakis Physicist, MSc Email: a_vlamakis@hotmail.com | Konstantinos Loukidis Energy engineer, ΜΒΑ Email: loukidisk@gmail.com
Thank you for your attention!