## Slide 1: Multi-Criteria Assessment Tool for Floating Offshore Wind Power Plants
Presenter: Markus Lerch (IREC)
WindEurope Summit 2016
Hamburg, 29 th September 2016
The research has received funding from the European Union Horizon2020 programme under the agreement H2020-LCE-2014-1-640741.

## Slide 2: Contents
29 September, 2016
Introduction
  EU H2020 LIFES50+ Project
Methodology
  Multi-Criteria Assessment
FOWAT Tool
Conclusions

## Slide 3: Introduction
EU H2020 LIFES50+ Project
“Qualification of innovative floating substructures for 10 MW wind turbines and
water depths greater than 50 m”
29 September, 2016
Concept Evaluation
Multi-Criteria Assessment
Cost Reduction Potential

## Slide 4: Introduction
The research has received funding from the European Union Horizon2020 programme under the agreement H2020-LCE-2014-1-640741.
29 September, 2016

## Slide 5: Introduction
Floating Substructure Concepts
29 September, 2016

## Slide 6: Introduction
Concept Evaluation
Golfe de Fos, France Gulf of Maine, USA West of Barra, Scotland
Moderate Medium Severe
Met-ocean conditions Met-ocean conditions Met-ocean conditions
29 September, 2016
Evaluation baseline:
  Complete offshore floating wind farm consisting of 50 turbines (500 MW)
  3 selected sites
  Average performance of the concepts according to different sites

## Slide 7: Introduction
Concept Evaluation
Golfe de Fos, France Gulf of Maine, USA West of Barra, Scotland
Moderate Medium Severe
Met-ocean conditions Met-ocean conditions Met-ocean conditions
29 September, 2016
Additional evaluation:
  1turbine (10MW) and 5 turbines (50MW) configuration
  1 selected site
  From demonstration to commercialization

## Slide 8: Methodology
Multi-Criteria Assessment
29 September, 2016
Objective
Criteria
Indicator
Selection of the two best performed concepts
Economic
Environmental
Risk
Ranking
LCOE
Unit: €/MWh
Global Warming Potential
Unit: Kg CO2 equiv.
Primary Energy
Unit: MJ equiv.
Abiotic Depletion Potential
Unit: Kg Sb equiv.
Technological Risk
Unit: dimensionless
LCA
Economic
70 %
Environmental
10 %
Risk
20 %
Technical KPIs will be considered to verify and check the consistency
of the data provided and results obtained
Notes: Sb = Antimony (Lat. Stibium)

## Slide 9: FOWAT TOOL
29 September, 2016

## Slide 10: FOWAT TOOL
29 September, 2016
Menu

## Slide 11: FOWAT TOOL
29 September, 2016

## Slide 12: FOWAT TOOL
29 September, 2016
Import of Data:
1. Automatically - EXCEL file
2. Manually – Tool

## Slide 13: FOWAT TOOL
29 September, 2016
Location Definition

## Slide 14: FOWAT TOOL
29 September, 2016
Wind Farm Definition

## Slide 15: FOWAT TOOL
29 September, 2016
LCOE Module

## Slide 16: FOWAT TOOL
29 September, 2016
Energy Production

## Slide 17: FOWAT TOOL
29 September, 2016
Life Cycle Costs

## Slide 18: FOWAT TOOL
29 September, 2016
LCOE
Result

## Slide 19: FOWAT TOOL
29 September, 2016
LCOE Uncertainty Evaluation
Technological uncertainties
  Installation costs
  Wind turbine costs
  Development costs
  Etc.
External uncertainties
  Energy production
  Exchange rates
  Discount rate
  Etc.

## Slide 20: FOWAT TOOL
29 September, 2016
LCA Criteria
Global Warming Potential
(Kg CO2 eq.)
Primary Energy Consumption
(MJ)
Abiotic Depletion Potential
(Kg Sb eq.)

## Slide 21: FOWAT TOOL
29 September, 2016
Technological Risk
Cost
Availability
Health & Safety
Environment

## Slide 22: FOWAT TOOL
29 September, 2016

## Slide 23: Conclusions
29 September, 2016
FOWAT enables the performance comparison of multiple floating substructure concepts
Multi-criteria assessment based on LCOE, LCA and Risk
Uncertainty consideration in cost calculation
Different geographical offshore sites can be included
Detailed breakdown of life cycle cost and energy losses
Flexible tool and customization possible
Next steps
Lifes50+ concept evaluation in January 2017
Comparative assessment of bottom-fixed and floating offshore wind farms
Update to include a wide range of wind farm configurations

## Slide 24
Thank you for your attention!
Vielen Dank für Ihre Aufmerksamkeit!
29 September, 2016