## Slide 1: Limitations to the validity of single wake superposition in wind farm yield assessment
K. Gunn1, C. Stock-Williams1, M. Burke1, R. Willden2, C. Vogel2,
W. Hunter2, T. Stallard3, N. Robinson4, S. R. Schmidt5
1Uniper Engineering
2University of Oxford
3University of Manchester, Manchester
4AWS TruePower
5E.ON Climate & Renewables

## Slide 2: Uniper Engineering - Strong Pedigree across the Energy Sector
Established as part of UK Central Generating Board focusing on power generation and energy markets.
Became part of E.ON’s Owner’s Engineering Function in 2008, extending focus to renewables.
Carved out of E.ON as part of Uniper in 2016, releasing the shackles of owners Engineer and a focus on external market.
1000+ scientists and engineers based in UK and Germany, delivering solutions for the fossil generation, renewables, power grids, storage and energy trading sectors.
digital.uniper.engineering

## Slide 3: Introduction – Wake Interaction
Largest deficit: | 
Root-sum-square: | 
Linear: | 
Largest deficit: | 
Root-sum-square: | 
Linear: | 

## Slide 4: Method – CFD and Physical Tests

## Slide 5: Method – CFD
Type | RANS
ANSYS Fluent | v. 15.0
Bulk flow wind speed | 12.0 m/s
Hub height wind speed (u0) | 11.4 m/s
Hub height turbulent kinetic energy | 0.538 m2/s2
Hub height turbulence intensity | 5.26%
Domain width | 1134 m
Domain length | 3150 m
Domain height | 1134 m
Number of cells | 6-8 x 106
Rotor diameter | 126 m
Rotor hub height | 90 m

## Slide 6: Method – Physical Tests
Hub height flow speed | 0.463 m/s
Hub height turbulence intensity | 12%
Tank width | 5 m
Length of test section | 12 m
Still water depth | 0.45 m
Turbine diameter | 0.27 m
Turbine hub height | 0.225 m

## Slide 7: Results – Analytic Method
Remove Shear
Hub Height Profile

## Slide 8: Results – Velocity

## Slide 9: Results - TKE

## Slide 10: Analysis – Inline case

## Slide 11: Analysis – Inline case
Largest deficit gives best agreement in the centre
This is the case which has been most “validated”
This is the “up tick”

## Slide 12: The Uptick

## Slide 13: Analysis – Partly offset case - CFD

## Slide 14: Analysis – Partly offset case - CFD
Largest deficit is a very poor fit
Wakes do not re-energise as fast
No uptick

## Slide 15: Analysis – Partly offset case - Flume
Flume tests corroborate this results
As do studies on operational wind farms*
*Gaumond M, Réthoré P E, Bechmann A, Ott S, Larsen G C, Peña A, et al. 2012 Benchmarking of wind turbine wake models in large offshore wind farms. In Torque 2012

## Slide 16: Analysis – Fully offset case

## Slide 17: Analysis – Fully offset case

## Slide 18: Wakes – Interaction Effect
  Current wake models assume the wake is re-energised from all sides equally
  Neighbouring wakes remove a source of energy
  Non-axisymmetric wake models could account for this
Velocity
TKE
Notes: Modified boundary conditions in EV will take the flow velocity at the wake boundary to be the velocity of the upstream wake at that given location, rather than the free stream which is what currently happens.

## Slide 19: Why it matters – a three turbine illustration

## Slide 20: Why it matters – a three turbine illustration
Wind Rose
Layout A
Layout B
Which layout is better?
From current models, A has higher yield.
What if we are optimising for LCoE?

## Slide 21: Conclusions
  Existing wake models do not account for the physics of wake interaction
  This will result in inaccuracies in the wake models
  These inaccuracies will influence windfarm layout design

## Slide 22: Thanks and Questions
digital.uniper.engineering

## Slide 23: Backup Slides

## Slide 24: Real Data

## Slide 25: The “Uptick”
Gaumond M, Réthoré P E, Bechmann A, Ott S, Larsen G C, Peña A, et al. 2012 Benchmarking of wind turbine wake models in large offshore wind farms. In Torque 2012