## Slide 1
Investigation and validation of wake model combinations for large wind farm modelling in neutral atmospheric boundary layers
Eric TROMEUR, Sophie PUYGRENIER, Stéphane SANQUER
Meteodyn France, 14bd Winston Churchill, 44100, Nantes, France
Eric TROMEUR

## Slide 2
CONTENT
Background
Large wind farm correction
Results and validation
Limitations and future developments

## Slide 3
_______________ Background
SINGLE WAKE EFFECT
Velocity deficit
Turbulence intensities
Turbulence length scale
Turbulence coherence
Distribution of turbulence
INTERNAL BOUNDARY LAYER MODIFICATION
LARGE WIND FARM WAKE EFFECT

## Slide 4
_______________ Large wind farm correction
LARGE WIND FARM WAKE EFFECT
Roughness parametrization
Internal boundary layer profile influence
Geometric measure of turbine density
Large wind farm correction activation
Estimation of spacing between two wind turbine rows

## Slide 5
OFFSHORE WIND FARMS LAYOUTS
Measurements for parameterization and validation
Columns 1 to 10
Rows
1 to 8
Rows
1 to 9
Columns 1 to 8
Layout of the Horns rev wind farm (Barthelmie, 2010)
Layout of the Nysted wind farm (Barthelmie, 2010)
_______________ Large wind farm correction

## Slide 6
EQUIVALENT ROUGHNESS INFLUENCE
Method of Frandsen (Wind Energy, 2006)
Frandsen roughness function of wind speed and Sc at Horns Rev
Sd=7
ER
WT74
_______________ Large wind farm correction

## Slide 7
SPACING BETWEEN TWO WIND TURBINE ROWS
_______________ Large wind farm correction

## Slide 8
INTERNAL BOUNDARY LAYER INFLUENCE
- Boundary layer offset Hstart -
Height (m)
0
1
2
3
4
5
6
7
8
9
10
0
300
250
200
150
100
50
Height (m)
0
0.1
0.2
0.3
0.4
0.5
0.6
0.7
0.8
0.9
1
Correction coefficient
0
300
250
200
150
100
50
Height (m)
Wind speed (m/s)
Hhub
Horns Rev
V=8 m/s
WT74
Horns Rev
WT74
ER
ER
Velocity deficit correction coefficient (Schlez and Neubert, 2009)
Boundary layer offset
Internal boundary layer height
_______________ Large wind farm correction
Theoritical profile
Theoritical profile z0=0.001m

## Slide 9
GEOMETRIC MEASURE OF TURBINE DENSITY
Sd=7
Sc=7
V=8 m/s
HORNS REV
_______________ Large wind farm correction

## Slide 10
_______________ Large wind farm correction
LARGE WIND FARM CORRECTION ACTIVATION
Step 1
Turbine density ≥ 1
Step 2
Combined to two single wake models:
Step 3
Always activated from the 4th wind farm column
Park model (Jensen, 1983)
Fast EVM model (Ainslie, 1988; Anderson, 2009)
Step 4
Velocity deficit minimum between the large wind farm correction and the single wake models
Step 5
Estimation of the large wind farm wake effect
WT Park model + IBL
WT Fast EVM + IBL

## Slide 11
_______________ Results and validation
MODEL COMPARISONS WITH OFFSHORE WIND FARM DATA
- Wake width -

## Slide 12
_______________ Results and validation
MODEL COMPARISONS WITH OFFSHORE WIND FARM DATA
- RMSE of normalized power -
Chart: Incident wind direction
| ER-15° | ER-10° | ER-5° | ER | ER+5° | ER+10° | ER+15°
WT Park+IBL | 0.11 | 0.04 | 0.05 | 0.06 | 0.07 | 0.08 | 0.07
WT Fast EVM+IBL | 0.11 | 0.03 | 0.03 | 0.06 | 0.05 | 0.08 | 0.07
WindFarmer | 0.15 | 0.05 | 0.05 | 0.04 | 0.04 | 0.03 | 0.07
Wakefarm | 0.17 | 0.07 | 0.03 | 0.08 | 0.05 | 0.03 | 0.03
WAsP | 0.17 | 0.06 | 0.11
NTUA | 0.07 | 0.11 | 0.03 | 0.08 | 0.04 | 0.03 | 0.1
Horns Rev
Chart: Incident wind direction
| ER-15° | ER-10° | ER-5° | ER | ER+5° | ER+10° | ER+15°
WT Park+IBL | 0.02 | 0.04 | 0.04 | 0.04 | 0.08 | 0.03 | 0.07
WT Fast EVM+IBL | 0.02 | 0.04 | 0.06 | 0.07 | 0.07 | 0.03 | 0.06
WindFarmer | 0.09 | 0.05 | 0.13 | 0.04 | 0.04 | 0.04 | 0.03
Wakefarm | 0.05 | 0.04 | 0.1 | 0.06 | 0.03 | 0.03 | 0.04
WAsP | 0.21 | 0.09 | 0.12
Nysted

## Slide 13
_______________ Results & Validation
MODEL COMPARISONS WITH OFFSHORE WIND FARM DATA
- Power deficit by downwind distance -
Horns Rev
Wind farm column
Wind farm column
Wind farm column
Normalized power
Nysted
Normalized power
Wind farm column
Wind farm column
Wind farm column

## Slide 14
_______________ Limitations and Future developments
  Large wind farm correction activation
  Velocity deficit minimum
  Model comparisons with offshore wind farm data
Assessment of the new large wind farm model
  Equivalent roughness influence
  Automatic estimation of Sd and Sc
  Boundary layer offset
  Internal boundary layer height
  Limited set of validation cases
  Large wind farm model uncertainties
  Scaled to offshore wind farm layouts
  Assessment on onshore wind farms
  Complex sites
  Linear combination of velocity deficits
  Influence of thermal stratification
Sensitivity studies of internal boundary
layer parameters
Limitations of applications
Future developments
LARGE WIND FARM WAKE EFFECT

## Slide 15
Look at the paper
in
Journal of Physics: Conference Series
_______________ More information

## Slide 16
Thank you
www.meteodyn.com/en
eric.tromeur@meteodyn.com
_______________ Contact