## Slide 1
www.ingeteam.com
Speaker: Markel Zubiaga
Low Scale Grid Emulator Test Bench For In-house Validation Of High Power Converters Oriented To Offshore

## Slide 2
INTRODUCTION
CONVERTER UNDER TEST CHARACTERISTICS
GRID EMULATOR TEST BENCH
VALIDATION PROCESS
CASE EXAMPLES
CONCLUSIONS
INDEX

## Slide 3: INTRODUCTION
2 MW
12 MW
5 MW
8 MW
OFFSHORE INDUSTRY TREND
CONSEQUENCE: LONGER PROJECT DEVELOPMENT PROCESS
Why Grid emulator based test bench ?
+Less cost
+Bigger wind turbines
+Higher efficiency

## Slide 4
GOING OFFSHORE IS A BIG STEP
FOR POWER CONVERTERS
To improve efficiency and reduce costs
Less conservative solutions have to be implemented
High power solutions:
MV
Low commutation frequency
Multi-stator generators
Several conversion lines
New semiconductors
Why Grid emulator based test bench?
INTRODUCTION

## Slide 5
 | 2 CONVERSION LINES ARRANGEMENT |  |  |  | 
 | GRID |  |  |  | MACHINE
 | WT power [kW] V(pu) / PF 0,9/0,9 | WT power [kW] V(pu) / PF 0,9/0,95 | WT power [kW] V(pu) / PF 0,95/0,95 | WT power [kW] Vn@PF=1 | WT Power [kW] Vn@PF=0,95
INGECON WIND MV100 5600 | 9100 | 9600 | 10100 | 11200 | 11400
 | 10000 | 10600 | 11200 | 12400 | 12500
INGECON WIND MV100 4600 | 7500 | 7900 | 8300 | 9200 | 9300
 | 8300 | 8700 | 9200 | 10200 | 10300
INGECON WIND MV100 3400 | 5500 | 5800 | 6100 | 6800 | 6800
 | 6200 | 6500 | 6900 | 7600 | 7600
RATED POWER
OVERLOAD
Ingecon Wind MV100 family
INTRODUCTION: PRODUCT CHARACTERISTICS

## Slide 6
Grid emulator to replicate easily grid conditions
Low voltage / power MV100 replica
Simple turbine environment (Drive-generator + WTC)
Expensive and special testing power labs
Not friendly environment for on site tests
+
=
High power converter
x
________________
+
Big design challenges
Low scale test bench in-house
Facing the design of MV100 family for offshore
Low scale test bench
PROBLEM BASICS

## Slide 7
Power Converter Testing
MULTIPHASE MACHINE
2 x CONVERSION LINES (3L B2B)
CCU + WT CONTROLLER & SYSTEM
GRID EMULATOR
Configurable low scale test bench: 1 & 2 CL
A
B
C
GRID EMULATOR TEST BENCH SCHEME

## Slide 8
2 Converter Line B2B (3L)
VBUS=1100V e IRED=150A
Several filter options
Several taps to configure inductors
Test bench modeled and translated to a simulation scenario
Configurable low scale test bench: 1 & 2 CL
A
B
C
GRID EMULATOR TEST BENCH OVERVIEW

## Slide 9
3L-B2B Converter to emulate a grid
Power range: 775 kW
Input voltage: 690V
Output current: 650A
GRID EMULATOR TEST BENCH: 3L-B2B CONVERTER
Additional cabinet composed by:
Grid transformer (possibility of several winding connections)
Grid impedance configuration
Contactors
Drives and several generators:
Multi-phase PMG generator (Configurable angle between stators)
SCIG generator
Synchronous generator

## Slide 10
WIND AREA SCALED REPLICA
INVERTER TOPOLOGY 3L-NPC
SEMICONDUCTORS IGBT
COOLING Natural convection
CHOPPER Yes
VBUS 1100 V
INPUT VOLTAGE 690 V
OUTPUT CURRENT 150 A
Low Voltage / Power Replica
CONVERTER UNDER TEST CHARACTERISTICS

## Slide 11
The control hardware and the control code in the real equipment and the scaled one are the same
Same control logics, auxiliary equipment and input/output signals
A simple wind turbine level Control (WTC) system is also implemented in order to test dynamic operations
The components of the power circuit are scaled maintaining the same per unit value
The equipment under test (EuT) can represent the whole range of converter product family (5 – 10MW)
Power Circuit
Low Voltage / Power Replica
CONVERTER UNDER TEST: POWER CIRCUIT CHARACTERISTICS

## Slide 12
Control code is always in constant evolution
  new environments, new requirements, new regulations, new products, new hardware, etc
As important as developing new software capabilities is integrating them into the control code
Generic validation plan: / Specific validation plan:
Tests every issue in the grid codes focused on a specific aspect.
Fast
Reliable
Control Code Validation
VALIDATION PROCESS

## Slide 13
Simulation – Test - Prove
VALIDATION PROCESS: SIMULATION TEST SCHEME
PROGRAM
SIMULATE
TEST

## Slide 14
Grid Emulator capabilities
Symmetric & Asymmetric voltage dips (97% depth)
·
·
·
Voltage dips with specific phase-angle jumps
Voltage dips with specific start phase-angle
Frequency deviations
Grids with high harmonic components
HVRT up to 1.5 pu
Weak grids with negative sequence voltage
VALIDATION PROCESS

## Slide 15
Development of new FOM (Filter Oriented Modulation)
Upgrade control code for LVRT due to requirement changes
TRANSFORMER ENERGIZATION
REDUNDANCY
EVALUATION OF TWO CONVERTER LINES (RECIRCULATION, ETC)…
GENERATOR CONTROL OPTIMIZATION
AND MANY MORE…
Developments made by using grid emulator
CASE EXAMPLES: EVALUATED CONTROL ASPECTS

## Slide 16
Extensive tests have to be performed
Offshore MV applications require high power
Commutation frequency Vs Output power
Improving modulation allows to achieve higher output power in converters
Modulation changes affect almost every aspect of the converter
Control techniques, filter, step response….
Development of new FOM
CASE EXAMPLES: NEW MODULATION

## Slide 17
Development of new FOM
CASE EXAMPLES: RESULTS FOR NEW MODULATION

## Slide 18
Specific tests of voltage dips
Upgrade control code for LVRT
CASE EXAMPLES

## Slide 19
Test bench results have been contrasted with real equipment.
    Normal operation tests
    LVRT
Power lab up to 12 MW
Beasain, Spain
Translation to real equipment
Performed tests have shown successful results
In-house power lab
Zamudio, Spain
CONCLUSIONS

## Slide 20
Grid emulator test bench is located in-house close to code developers and the whole system has been modeled and translated into simulation. So, the access to both, makes the product development process shorter and performed with more guaranties.
Validation process with real equipment is shorter.
Simulation models can be improved by comparing the results in the test bench with the results in the simulated scenario.
Conclusions
CONCLUSIONS

## Slide 21
More accurate and validated simulation models of the converter can be used by the wind turbine manufacturer to optimize the wind turbine and the transmission system.
Scaled replica with the grid emulator gives the opportunity to provide support to turbine manufacturer going offshore.
Additional advantages
CONCLUSIONS

## Slide 22: FIN