## Slide 1: Product Insertion of LM Wind Power Serrations asi@lmwindpower.com
WindEurope Summit 2016
Hamburg / September 27-29
Ashish Singh, Jose Mathew, Carlos Arce León and Jesper Madsen

## Slide 2
Serrations for wind turbine noise reduction
More and more onshore developments are becoming constrained by heavy noise regulations.
This leads to fewer turbines per park, or the implementation of expensive curtailment schemes.
LM serrations reduce the noise by at least 2 dB(A).

## Slide 3
Meeting Conflicting Requirements
Loads
Reliability
Safety
Susceptibility to field condition
Trade off b/w standardized & blade specific product
Quick time to market
Minimum 2 dB(A) noise reduction despite all restrictions
Annual energy production (AEP)

## Slide 4
Features
  More than 2 dB(A) noise reduction
  No blade recertification
  Certified for 20-year lifetime operations
  Handling & transportation friendly
  Innovative locking mechanism
  Easy retrofit and servicing
  Quick time to market
Ready to Market – LM Serrations
Cost of energy reduction potential
  Larger windfarms for the same noise levels
  Longer blades, increase energy production
  Higher RPM, drivetrain load reduction
  Increased RPM, generate more AEP
  Avoid noise curtailment operations

## Slide 5
Extensive testing of serrations
Aerodynamic Testing in LM Wind Tunnel
Acoustics Testing in Anechoic Wind Tunnel
Structural Testing in Multiple Labs
Wind Load Testing on Serrations
Field Noise Testing
Thorough validation program
  Aero
  Acoustics
  Component
Innovative attachment method
Validated for bonding strength
Noise field testing

## Slide 6
Aerodynamic testing
All of our airfoil profiles have been reevaluated with serrations
Blade design is now tailored to the new aerodynamics of the serrations
The effect of the serrations on existing blades is also fully known
Aerodynamic testing is important to evaluate turbine power and loads
LM Wind Power’s Wind Tunnel

## Slide 7
Acoustic testing
Baseline
Short
Medium
Long
Baseline
0 deg
5 deg
10 deg
Most NR
 dB
 dB
ISVR Wind Tunnel, University of Southampton
300+ tests with different conditions and serration geometries conducted
Serration impact on blade section noise reduction is extensively evaluated
Most NR

## Slide 8
Studying flow near serrations with particle image velocimetry, TU Delft

## Slide 9
Wind Load Testing
LM Wind Power’s in-house wind tunnel
  Wind loads on serrations evaluated for 50-year return gust conditions
  Sufficient peel-off safeties due to extreme wind loads

## Slide 10
LM serrations have been certified to withstand 20 years of operation
  Extensive test program
  Multiple test facilities
  Fatigue and static tests
  Tests on the blade attachment
  UV tests
Structural testing
Component Bending Test
Blade Straining Test

## Slide 11
Noise Reduction in the Field Test
2-3 dB(A) Reduction

## Slide 12
Concluding remarks
Market ready LM serrations
2 dB(A) reduction in noise enable to install 7% longer blades or increase the RPM by 10% or decrease the distance to residential housing by 20%
Certified for 20 yrs. of operations

## Slide 13
Questions?
Ashish Singh
asi@lmwindpower.com
Carlos Arce León
caar@lmwindpower.com