## Slide 1: Cost reduction and role of grid developer
WindEurope Summit Hamburg 2016
Rob van der Hage, TenneT
29 September 2016

## Slide 2: TenneT at a glance
Europe’s first cross border grid operator | 
In the Netherlands and Germany | 
Employees | 2.946
Grid length total | 21.000 km
Number of transformatorstations | 445
Number of endusers | 41 million
Number of interconnections | 14
Security of supply | 99,9975%
Offshore grid operator in NL and GE | 
International offshore division | 
Facts & figures
Notes: TenneT is a leading European electricity transmission system operator (TSO) with its main activities in the Netherlands and Germany. With approximately 22,000 kilometres of high-voltage connections we ensure a secure supply of electricity to 41 million end-users. We employ approximately 3,000 people, have a turnover of EUR 3.3 billion and an asset value totalling EUR 15.4 billion. TenneT is one of Europe’s major investors in national and cross-border grid connections on land and at sea, bringing together the Northwest European energy markets and enabling the energy transition. We take every effort to meet the needs of society by being responsible, engaged and connected. Taking power further.

## Slide 3: TenneT offshore by 2023
Twelve DC grid connections for offshore wind farms
Three AC grid connections for offshore wind farms
4,300 MW at present
9,832 MW by 2023 (7,132 MW by 2019)
NordLink (2020): 1,400 MW
Five AC grid connections for offshore wind farms
3,500 MW by 2023
NorNed (2008): 700 MW
BritNed (2010): 1,000 MW
COBRAcable (2019): 700 MW
Germany
Netherlands
By 2023 TenneT will have realised over 17 GW of offshore connection capacity:
13.3 GW for offshore wind energy, 3.8 GW for interconnection; with 13,000 km cable.

## Slide 4: Schematic comparison
Notes: This slide shows a scheme of the offshore grid connection in Germany (above) and The Netherlands (below).
Differences to the grid connection planned for the Dutch coast:
No OWF platform – saving space, saving investments.
This is a DC connection (not AC). Convertors are required offshore and onshore.
Also the Dutch platforms will not have a heli-deck.

## Slide 5: TenneT’s roll-out strategy (1)
Minimum # of platforms (5), maximum capacity (700 MW)
Maximum capacity cable: 220 kV, AC, cable pairs
Standardisation
Increased availability
  Structured approach: no stranded assets
Lean and mean (bundling)
66 kV cables
In time: planning Energy Agreement
Bundling OPEX
Lower financing costs
Notes: BASIC SLIDE
Lessons learnt in Germany for realisation of Dutch offshore grid according to goals Energy Agreement:
Roll-outstrategy based upon a master plan, like the German Offshore Grid Development plan
Task of TenneT/Energy Agreement:
Five standard wind farm areas, each 700 MW
Lowest LCOE possible
Required Time Frame
Future proof
Minimal impact
Facilitating innovation

## Slide 6: Stakeholder Consultation
Objectives:
Come to an optimised grid configuration and
Realisation against minimum societal costs
Topics:
Technical
33 kV vs. 66 kV
Overplanting
SCADA, metering
Shared Data Services
Planning
Uncertainties
Legal
Model Agreements
Other
Innovation
De-risking contributes to LCOE reduction
Notes: BASIC SLIDE
TenneT has committed to an intensive stakeholder consultation process in 2015 with respect to e.g. technical and planning issues concerning the realisation of the offshore grid infrastructure.
The overall goal of this process was to optimize, together with the stakeholders, the offshore grid configuration and realization against minimum societal cost.
During this process all relevant stakeholders were invited to provide their input on the topics at hand via TenneT’s website and expert meetings.
Moreover, it was clear to all stakeholders which choices were to be made, when they would be made and what the considerations would be.
A website supported the stakeholder consultation process by providing access to relevant information and allowing stakeholders to give feedback on individual topics.
Reactions from the energy sector:
Gordon Pedersen, Senior Wind Power
Project Manager at DONG:
“The technical and legal consultation sessions organised by TenneT were very efficiently structured and had a transparent set-up. DONG welcomes this approach and would like to underline the importance of close collaboration between wind farm developers and the TSO. This is the best way to reduce risks and ensure cost-efficient planning and development of offshore wind farms.”

## Slide 7
Technical concept in three minute movie

## Slide 8: Best of both worlds
New wind energy law DE
Only build offshore infra with certainty of wind farms
Tender system guarantees lowest price
Standardised AC solutions in NL and DC in DE based on experience
Coordinated offshore and onshore grid development
Clear mandate for offshore grid developement in NL and DE

## Slide 9
Electrifying the North Sea
Medium & long term outlook offshore grid

## Slide 10
The European energy transition
EU ambition: 80-95% CO2 reduction in 2050 compared with 1990 levels
Large volumes of RES needed:
  2000 GW of sun PV required to cover 50% of the electricity demand (TU Delft)
  600 GW offshore & onshore wind power required to cover 50% of the electricity demand (WindEurope)
Cooperation Member States is essential to reach the European energy goals
Member States should agree upon targets/goals
Ambitious goals
Notes: Niet haalbaar met alleen near shore wind energy

## Slide 11: The challenge
Sun has a huge potential, still vast amounts of wind are needed:
Wind energy on land
Wind energy near shore
Wind energy far shore
  Construction (expensive)
  Maintenance (expensive)
  Infrastructure (expensive)
Challenge
How to get cost level down? Below or comparable to near shore
How to integrate in the environment?
How to cooperate internationally?
Notes: Waarom combineren?
- Efficiënt gebruik van de infrastructuur, dus goedkoper
- Marktintegratie
- Vermoedelijke noodzaak van interconnectie om het systeem te kunnen bedrijven bij veel wind.
Met de huidige stand van de techniek wordt de transportinfrastructuur van wind op zee gemiddeld genomen voor circa 40% van de capaciteit benut. Door een combinatie met interconnectie kan de infrastructuur benut worden voor grensoverschrijdend transport op momenten dat deze minder/niet voor wind gebruikt wordt. Op momenten dat er juist veel wind is, is het wellicht zelfs noodzakelijk om landen te verbinden. Op die manier wordt de infrastructuur efficiënter benut en draagt deze daarnaast bij aan de integratie van de Europese energiemarkt.

## Slide 12: Solution: hub and spoke concept
Scale: A large scale European roll-out for offshore wind delivers a significant contribution to cost reduction
Location: When far shore becomes necessary, shallow waters with better wind conditions contribute to cost reduction
Wind connector: The wind connector combines large scale wind farms with powerful interconnectors for more efficient use of the electrical infrastructure and further European Market integration
Hub function/ island: By building an island, a hub function can be created with virtual near-shore environment allowing more economical AC/DC-solutions contributing to OPEX/CAPEX cost reductions
Hub and spoke delivers
Notes: PASSEND BIJ DE VOORWAARDEN, ZOU de Doggersbank een locatie kunnen zijn.
De Doggerbank is een zandbank in een ondiep gedeelte van de Noordzee met een oppervlakte van ongeveer 17.600 km² en kent dieptes tussen de 15 en 36 meter. De oppervlakte die nodig zal zijn voor de ontwikkeling van het energiesysteem is afhankelijk van de ambities. Bij de ontwikkeling van 70 GW zal tussen de 40% en 50% van de Doggersbank worden gebruikt.
Het eiland neemt 0,02% van de Doggersbank in beslag, de windparken dus tussen de 40-50%.
Wat is er op het eiland?
Accomodaties (housing)
Converters
Assemblage hallen
Energieconversie
Onderzoeksfaciliteit voor milieu-onderzoek
Haven
Landings-strip

## Slide 13: Facts & figures – modular island
Possibly three islands: 6 km2 each, 200 mln m3 sand
€1.5 bn (rock and sand only, no infra/facilities)
Possible connections to existing pipeline infrastructure
Facilitates approx. 30 GW of wind farms per island
15 Converter stations (2 GW each) on the island
Total: 70 GW, 7,000 turbines (10 MW)
On the Dogger Bank: 11,400 km2
Hard substrate: 4.4 km2 (0.02% of total Dogger Bank surface)
Notes: PASSEND BIJ DE VOORWAARDEN, ZOU de Doggersbank een locatie kunnen zijn.
De Doggerbank is een zandbank in een ondiep gedeelte van de Noordzee met een oppervlakte van ongeveer 17.600 km² en kent dieptes tussen de 15 en 36 meter. De oppervlakte die nodig zal zijn voor de ontwikkeling van het energiesysteem is afhankelijk van de ambities. Bij de ontwikkeling van 70 GW zal tussen de 40% en 50% van de Doggersbank worden gebruikt.
Het eiland neemt 0,02% van de Doggersbank in beslag, de windparken dus tussen de 40-50%.

## Slide 14: Solution: scale
AC solution close to shore:
100%
+ 1 GW DC infra
+ distance to shore
- 22%: economies of scale e-infra:
island
new 2GW infrastructure
no steel structures/jackets
124%
113%
- 11%: supply chain effectiveness
- 7%: shallow water
106%
98%
- 8%: wind climate Dogger Bank
93% (Dogger Bank: -7%)
- 5 %: interconnection (20% allocation)
Dogger Bank: 146%  93%
International cooperation - island concept
Small scale
Large scale
Far shore: 146%
classic DC e-infra