## Slide 1
Wind Turbine Control in Icing Climate
WindEurope 2016
Hamburg
Matthew Wadham-Gagnon, eng., M.Eng.
Project Manager / Business Development Coordinator
© TechnoCentre éolien, 2016

## Slide 2
© TechnoCentre éolien, 2016

## Slide 3
3
© TechnoCentre éolien, 2016
Cold Climate – Global Scale
http://www.windpowermonthly.com/article/1403504/emerging-cold

## Slide 4
TechnoCentre éolien (TCE)
Wind Farm/Test Site
4
Office
Over 1500MW in operation (Dec 2013)
1 met mast
© TechnoCentre éolien, 2016
Notes: Non-for-profit research and technology transfer center located on the tip of the gaspé peninsula, in Qc, Canada
Founded in 2000, the TechnoCentre éolien is a research and technology transfer centre that helps companies adapt their technology to withstand the northern climate, develop new products for the wind power industry, and integrate the power supply chain in Québec. The TechnoCentre éolien has four principal areas of endeavour:
technical assistance for businesses
applied research
economic development
communication/events.

## Slide 5
5
© TechnoCentre éolien, 2016
TechnoCentre éolien
Mandate
- Integrate renewable energy to conventional grids
- Optimise wind farm performances
- Support SME growth
Mission
To contribute to the development of a wind industry that is competitive both within North America and internationally.
Notes: Highly Qualified Personnel
50% with graduate degrees (Masters or PhDs)
25% with undergraduate
25% college
60% in Natural Sciences and Engineering
40% Business Admin Communications

## Slide 6
6
Wind Farm / Test Site
www.eolien.qc.ca
Two 2.05 MW Senvion MM92 CCV
Commissioned March 2010
Icing (IEA Class 2-3)
Complex terrain (IEC Class 2)
R&D, technological transfer, technological validation, performance assessment.
© TechnoCentre éolien, 2016
Notes: Icing Class between 2 to 3 based on IEA classification based on a scale of 5
Between the 2 Senvion turbines we have a recent autonomos Wind/diesel micro grid that include:
2 Eocycle 25kW and 7.5 Bergey turbines
2 50kW diesel genrator
AC and DC bus
Battery bench and compressed air accumulator

## Slide 7
7
© TechnoCentre éolien, 2016
Iced Wind Turbine Control Optimization

## Slide 8
Ice Operation Mode Strategy
8
© TechnoCentre éolien, 2016
Performance
  Increase Energy yield
  Reduce downtime
Load
  Avoid extreme loads
  Reduce fatigue loads
Ice Detection Ice Detection Ice Detection Ice Detection Ice Detection

## Slide 9
Wind farms in scope of project
9
© TechnoCentre éolien, 2016
Notes:   Hub Cam and nacelle camera
  Infrared Hub cam
  Meteorological sensors (humidity, solar radiation, precipitation)
  Ice blade sensors
  Load measurement sensor
    Blade
    Tower
    Shaft

## Slide 10
Infrastructure and Sensors
10
On TCE test site
  On the 2 MM92 turbine
  On MMV1 weather masts
Blade sensor bench test
Camera packages
Ice detector bench test
Micro Rain Radar
© TechnoCentre éolien, 2016

## Slide 11
Example of local ice detection on rotor
11
LE installation
Ice shed timing:
Blade
Nacelle
© TechnoCentre éolien, 2016

## Slide 12
© TechnoCentre éolien, 2016
12
Example of global ice detection on rotor

## Slide 13
Normal Operation Mode
13
Power
WS (m/s)
Rot RPM
AoA @25m
AoA @40m
8:27 | 8:32 | 8:37
Without IOM (2013) – mixed accretion
© TechnoCentre éolien, 2016

## Slide 14
Ice Operation Mode (IOM)
14
MAX ICR =3.1
Based on MMV1 image analysis
© TechnoCentre éolien, 2016

## Slide 15
15
With IOM and de-icing
  Power curves during the same event
© TechnoCentre éolien, 2016
IOM and Hot Air De-Icing (HAD)

## Slide 16
IOM and Hot Air De-Icing (HAD)
16
Around 24hrs of
active icing ICR~5
Resumption of power
Around 48hrs of stand still saved
© TechnoCentre éolien, 2016

## Slide 17
Hot Air De-Icing (HAD)
17
© TechnoCentre éolien, 2016

## Slide 18
Conclusion
18
Rotor sensors are an added value for ice detection
IOM alone can prevent stall and reduce down time in light to moderate site
HAD can reduce considerably down time in severe site
© TechnoCentre éolien, 2016

## Slide 19
Matthew Wadham-Gagnon, eng. M.Eng.
Project Manager / Business Development
mgagnon@eolien.qc.ca
Thank you !
Any questions?