## Slide 1: digitalization@windenergy How to harvest the full potential?
Thomas Pump
Head of Asset Information Systems ,
E.ON Climate & Renewables GmbH
September 2016

## Slide 2
Compared to my peers I´m producing always 10% less at the same wind speed
My oil temperature is to high and there is also a strange noise. I should reduce my production
My health parameters are getting worse. I ´ll call for a service

## Slide 3
Potential of
Digitalization
Potential of
Digitalization
Project origination / development
Project portfolio management
Business case tracker
Modelling
Wind farm planning
3D simulations
Array Layout Designer
Project optimization
E-auctions
Tendering
BIG UNKNOWN
New revenue streams ?
RFID chips
Construction
Logistic tracking
Training
Quality management
Digital Copy
Drawings
Virtual reality
Manufacturing
CAD / CAF
Simulations
Load test
Documentation
certificates
3D printing
Decommission
Project management
documentation
Logistic tracking
Operation
RT Monitoring
Field force management
Smart repairs
Predictive analytics
Mobility
Spare parts management
Forecasting
O&M optimization
CMS
Machine learning for analytics
Connected services
Blade inspections
Augmented reality
Logistic optimizer
databases
System integration

## Slide 4: We are operating in a box - and how to integrate the box?
“Expand the box”
Increase energetic availability/ reduce down times
Increase efficiency
Reduce O&M costs
Extend lifetime
“Integration into the new energy system”
How to integrate wind farms / Solar PV into a future energy system?
Number of “Prosumer” is increasing
Quo Vadis Grid quality?
Role and potential of block chain technology not clear yet

## Slide 5: It is all about data! - a new currency?
Data
Ownership
Capability
Access
Data belongs to the owner!
New love / new partnerships
Open standards & protocols to ensure access

## Slide 6: Only if those questions are answered we can create a world of connected services
Data from many connected devices is aggregated and stored.
When the data indicates an issue that can cause a problem, a case is created and assigned to the proper skill.
Interventions are performed to resolve the issue:
Fleet analysis provides the operators tips and instructions.
Dispatch proactively sends updated schedules
Technical Service is dispatched to perform maintenance or repair.
Resolutions are triggered before the operators knows there is a problem.
1
2
4
5
6
Data is analyzed in real-time to identify issues.
3
Performance and usage data is acquired and transmitted every 10 seconds.
The resolution is recorded. Longer Outages are prevented, costs minimised
Higher availability
Lower O&M costs
Longer lifetime
Higher Income
greenbox

## Slide 7
Technology development will not stop - Let’s use it – for a cleaner energy world

## Slide 8
Can I please to talk to someone from E.ON – they are providing the best service!
Imagine ! What if ……..

## Slide 9: Join the conversation

## Slide 10: Thanks for your attention